Project:___ Hunters Hill Sailing Club                                               Date:

Testing and Tagging frequency is as required by State / Territory Legislation / Codes of Practice / Australian Standards

| Equipment Description | Plant or Serial No. | Date of Insp/test | Results and/or trip current (less 30mA) for Earth Leakage Device | Date of next insp/test | Electrician’s / qualified persons Signature | License No. |
| --- | --- | --- | --- | --- | --- | --- |

| Electrical item | Frequency of inspection/test (in accordance with local legislation) |
| --- | --- |
| Tools & leads | Monthly |
| Sub-board earth leakage device | Trip tested monthly; calibrated 3 monthly |

Monthly/Tag colour (NSW only)

| J – Red | F – Blue | M- Orange | A – Green | M – White | J - Yellow | Jul – Blue | A – Green | S - Red | O – Yellow | N – Orange | D- White |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |